## Pediatric Head CT Protocols
CT Manufacturer:
Scanner Model:
Year of Installation:
Head CT Examinations
| Group 1 | Group 2 | Group 3 | Group 4
Age (years) | < 3 months | 3 months - 1 year | 1 year - 6 years | > 6 years
Clinical Indication
Protocol Name
Anatomical Region
Scan Type
Automatic kVp Selection
Automatic mA Modulation
kVp
mAs
Pitch
Rotation Time (s)
Slice Thickness (mm) 1st Recon
Scan Field of View
Filter Kernel
Recontruction Algorithm
Contrast
Number of Phases
Additional Info

## Pediatric Body CT Protocols
CT Manufacturer:
Scanner Model:
Year of Installation:
Pediatric Body CT Examinations
| Group 1 | Group 2 | Group 3 | Group 4 | Group 5
| Neonate | Infant, Toddler and Early childhood | Childhood | Early Adolesence | Adolesence
Weight (kg) | < 5 kg | 5 kg - 15 kg | 15 kg - 30 kg | 30 kg - 50 kg | 50 kg - 80 kg
Clinical Indication
Protocol Name
Anatomical Region
Scan Type
Automatic kVp Selection
Automatic mA Modulation
kVp
mAs
Pitch
Rotation Time (s)
Slice Thickness (mm) 1st Recon
Scan Field of View
Filter Kernel
Recontruction Algorithm
Contrast
Number of Phases
Additional Info

## Adult CT Protocols
CT Manufacturer:
Scanner Model:
Year of Installation:
Young Adult CT Examinations
Group 6
Young Adulthood
Weight (kg) | > 80 kg
Clinical Indication
Protocol Name
Anatomical Region
Scan Type
Automatic kVp Selection
Automatic mA Modulation
kVp
mAs
Pitch
Rotation Time (s)
Slice Thickness (mm) 1st Recon
Scan Field of View
Filter Kernel
Recontruction Algorithm
Contrast
Number of Phases
Additional Info

## Lists
CT Manufacturer | Automatic kVp Selection |  |  |  |  | Automatic mA Modulation |  |  |  | kVp |  | kVp | mAs |  | Scan Field of View |  | Filter Kernel | [6 empty] | Reconstruction Algorithm | [5 empty] | Number of Phases
Canon | Off | Sure kV | Not Available |  | Canon | Off | SureExposure | Not Available |  | Off | kVp | 70 | Off | mA | Ped Head | Canon | FC10 | FC20 | FC30 | FC40 | FC50 | Other: Please Specify | Canon | Filtered Back Projection (FBP) | FIRST: Iterative Reconstruction (IR) | AIDR 3D: Iterative Reconstruction (IR) | AiCE: Deep Learning Reconstruction (DLR) | PIQE: Deep Learning Reconstruction (DLR) | Other: Please Specify | 1
General Electric | Off | kV Assist | Not Available |  | General Electric | Off | AutomA | SmartmA | Not Available | Sure kV | Ref kVp | 80 | SureExposure | min mA/max mA & Standard Deviation | Ped Body | General Electric | Soft | Standard | Lung | Bone | Detail | Other: Please Specify | General Electric | Filtered Back Projection (FBP) | ASIR: Iterative Reconstruction (IR) | Veo: Iterative Reconstruction (IR) | ASIR-V: Iterative Reconstruction (IR) | ASIR-V & True Fidelity: IR & Deep Learning Image Reconstruction (DLIR) | Other: Please Specify | 2
Philips | Off | Dose Right | Not Available |  | Philips | Off | Doseright | 3D Modulation | Not Available | kV Assist | Ref kVp | 90 | AutomA | min mA/max mA & Noise Index | Small Head | Philips | A | B | C | D | L | Other: Please Specify | Philips | Filtered Back Projection (FBP) | iDose: Iterative Reconstruction (IR) | PRECISE Image: AI-Based Reconstruction | Other: Please Specify |  |  | 3
Siemens | Off | CarekV | CarekV Semi | Not Available | Siemens | Off | CareDose | CareDose4D | Not Available | Dose Right | Ref kVp | 100 | SmartmA | min mA/max mA & Noise Index | Head | Siemens | H30 | H50 | B30 | B50 | U30 | Other: Please Specify | Siemens | Filtered Back Projection (FBP) | SAFIRE: Iterative Reconstruction (IR) | ADMIRE: Iterative Reconstruction (IR) | Other: Please Specify |  |  | 4
Other: Please Specify | Off | test |  | Not Available | Other: Please Specify | Off |  |  | Not Available | CarekV | Ref kVp | 110 | kV Assist & SmartmA | min mA/max mA & Noise Index & Clinical Mode | Small Body | [14 empty] | Other: Please Specify
[10 empty] | CarekV Semi | Ref kVp | 120 | Dose Right | Reference mAs & Dose Right Index | Medium Body
Anatomical Region |  | Scan Type | [7 empty] | Not Available | kVp | 130 | 3D Modulation | Reference mAs & Dose Right Index | Large Body
Head |  | Helical | [9 empty] | 140 | CareDose | Effective mAs | Other: Please Specify
Head&Neck |  | Sequential | [9 empty] | 150 | CareDose4D | Quality Reference mAs (QR mAs)
Other: Please Specify |  | Other: Please Specify | [9 empty] | Sn100 | CarekV & CareDose4D | Quality Reference mAs (QR mAs) & Dose Optimization Setting
Chest | [11 empty] | Sn140
Chest&Abdomen | [11 empty] | Sn150
Abdomen | [11 empty] | Other : Please Specify
Abdomen&Pelvis
Chest&Abdomen&Pelvis
Other: Please Specify

## _Dropdown_Source (hidden)
Canon | Off | Off | Off | Off | Off
General Electric | Sure kV | kV Assist | Dose Right | CarekV | Not Available
Philips | Not Available | Not Available | Not Available | CarekV Semi
Siemens |  |  |  | Not Available
Other: Please Specify